| South River Machar Fire Department Standard Operational Guidelines | S.O.G. 2:001 |
| --- | --- |
| Section: Environment | Subject: Reducing Diesel Fumes in Fire Station |
| Date: January 24, 2011 | Page 1 of 2 |

1:00	Purpose

1:01	To reduce the exposure to NO2 and PAF1 from incomplete combustion of diesel fuel in the fire hall

2:00	Scope

2:01	This guideline applies to all firefighting personnel and allied agencies working with	South River Machar Fire Department during the incident or training exercise.

3:00	Procedure

3:01	When a diesel engine has been started or running in the garage area of the fire hall the garage door must be left fully open for a period of time no less than 5 minutes after the engine has been shut down or the apparatus has left the garage area.

3:02	When more than one diesel engine has been started or running in the garage area of the fire hall all of the garage doors must be left fully open for a period of time no less than 10 minutes after the engine has been shut down or the apparatus has left the garage area.

3:03	All doors leading to the office and crew area, washrooms, compressor room and the furnace room must be closed prior to and after starting the diesel engine(s).

3:04	 Access to the garage area should be restricted to essential activities only immediately after a diesel engine has been running in the garage area and while it is being ventilated

6:00	Responsibility

6:01	It is the responsibility of all Firefighter’s involved in the emergency or training exercise to ensure this guideline is followed in its entirety.

6:02	It is the responsibility of the Commander’s to ensure the guideline is adhered to in its entirety.

| Fire Chiefs Signature |  | Date | January 24, 2011 |
| --- | --- | --- | --- |