| South River Machar Fire Department Standard Operational Guideline | S.O.G. 3:006 |
| --- | --- |
| Section: Fire Ground Operations | Subject: CO Alarm Calls |
| Date: January 6, 2011 | Page 1 of 2 |

1:00	Purpose

1:01	To ensure that safe and efficient response to calls of possible CO exposure and reduce the risk of possible gas explosions and further poisonings.

2:00	Scope

2:01	This guideline applies to all firefighting personnel and allied agencies working with	South River Machar Fire Department during the incident.

3:00	Procedure

3:01	Minimum of 7 Firefighters should respond to the emergency.

3:02	Command should be set up in a location that is up wind of the affected building and preferably on a corner of the building.

3:03	All firefighters entering the building must be wearing full bunker gear and SCBA.

3:04	R.I.T. must be established during all search and rescue and ventilation exercises involving CO or other gases.

4:00	Rescue

4:01	Incident command will ensure that all persons are removed from the building immediately.

4:02	If CO or flammable gases are present all gas sources are to be shut off.

5:00	Patient Care

5:01	Patient care will be completed by Firefighters on scene until ambulance crews arrive.

5:02	Patient care will include, but not limited to Spinal Immobilization, Oxygen Therapy, Airway Management, Defibrillation, Bleeding Control and Patient Assessment.  Patient Condition, mechanism of injury and environmental concerns will all dictate what patient care will be provided at the scene.

6:00	Responsibility

6:01	It is the responsibility of all Firefighter’s involved in the emergency to ensure this guideline is adhered to in its entirety.

6:02	It is the responsibility of the Commander’s to ensure this guideline is adhered to in its entirety.

| Fire Chiefs Signature |  | Date | January 6, 2011 |
| --- | --- | --- | --- |