| South River Machar Fire Department Standard Operational Guidelines | S.O.G. 3:012 |
| --- | --- |
| Section: Fire Ground Operations | Subject: Hydro Line Emergencies |
| Date: July 25, 2013 | Page 1 of 2 |

1:00	Purpose

1:01	To ensure that the fire department response to hydro line related emergencies protects the public and firefighters from possible electrical shock and from secondary fires.

2:00	Scope

2:01	This guideline applies to all firefighting personnel and allied agencies working with	South River Machar Fire Department during the incident or training exercise.

3:00	Response

3:01	When responding to hydro line emergencies Pump 3 shall respond first, followed by

Tanker 1 then Rescue 2.

3:02	A hot zone should be identified by the Incident Commander, all areas with in a distance of 2 poles from the downed power lines shall be deemed the hot zone.

3:03    Personnel should only enter the hot zone as directed by the Incident Commander to carry out essential duties.

3:04	All hydro lines are to be presumed live, even if fuse is tripped.

3:05	All buildings located within the hazard zone must be checked, occupants should be advised to avoid electrical outlets and not to use the telephone until the line is repaired or confirmed not to be live by hydro officials.

4:00	Hydro Line Related Rescues

4:01	If fire suppression activities are required near the downed power lines to protect life firefighters must not operated closer than 50 feet from the line.  The fire stream must be a minimum of 30 degree fog pattern.

4:02	No rescue operations will be conducted in the hot zone until hydro officials deem the area safe to do so.

6:00	Responsibility

6:01	It is the responsibility of all Firefighter’s involved in the emergency or training exercise to ensure this guideline is followed in its entirety.

6:02	It is the responsibility of the Commander’s to ensure the guideline is adhered to in its entirety.

| Fire Chiefs Signature |  | Date | July 25, 2013 |
| --- | --- | --- | --- |